Sample ID: 46840119-11

Date Issued: 1/24/24

Certificate of Analysis

For R&D Use Only - Not a California Compliance Certificate.

Alabama Slamma ThcA Hemp

Client: Sweet Heat Inc

Total CBD ND

Total THC 31.58 %

Total Cannabinoids 35.99 %

Sample Name:

Alabama Slamma ThcA Hemp

Matrix:

Plant

Unit Mass:

1 g per unit

Sample ID:

46840119-11

Date Received:

1/19/2024

Approved By:

Marie True, M.S.

Laboratory Manager

This certificate of analysis is responsible for the tested sample only and is for research and development (R&D) use only. This certificate of analysis shall not be reproduced, except in its  entirety, without the written approval of FESA Labs. FESA Labs shall not be liable for any damage that may result from the data contained herein in any way. FESA Labs makes no claim to  the efficacy, safety or other risks associated with any detected or non-detected amounts of any substances reported herein. If there are any questions with this report please email  info@fesalabs.com. This certificate of analysis is intended only for the use of the party to whom it is addressed and may contain information that is confidential or protected from  disclosure under applicable law. If you have received this document in error, please immediately contact us.

References: limit of detection (LOD), limit of quantitation (LOQ), not detected (ND), not tested (NT)

FESA Labs Page 1 of 2

2002 South Grand Avenue Suite A Santa Ana, CA 92705

(714) 540-0172

www.fesalabs.com

1/24/2024 13:27:24

Sample ID: 46840119-11

Date Issued: 1/24/24

Certificate of Analysis

For R&D Use Only - Not a California Compliance Certificate.

Cannabinoid Analysis Complete

Analyte LOD (%) LOQ (%) Mass (%) Mass (mg/g)

CBDV 0.0035 0.011 ND ND 0 CBD 0.0030 0.0090 ND ND 0 CBG 0.0038 0.011 ND ND 0 CBDA 0.0017 0.0052 ND ND 0 CBN 0.00080 0.0024 ND ND 0 Delta 9-THC 0.0022 0.0067 0.17 1.70

Delta 8-THC 0.0020 0.0059 ND ND 0 CBC 0.00070 0.0021 ND ND 0 THCA 0.0024 0.0073 35.82 358.18

Total CBD ND ND

Total THC 31.58 315.82

Total Cannabinoids 35.99 359.88

Date Tested: 1/23/2024

Total THC = THCa * 0.877 + d9-THC + d8-THC

Total CBD = CBDa * 0.877 + CBD

Method References: Testing Location

Cannabinoid Profile (UNODC) FESA Labs - Santa Ana, CA Official Methods of Analysis, Method 2018.11.AOAC INTERNATIONAL (modified), Lukas Vaclavik, Frantisek Benes, Alex Krmela, Veronika Svobodova, Jana Hajsolva, and  Katerina Mastovska, "Quantification of Cannabinoids in Cannabis Dried Plant Materials, Concentrates, and Oils Liquid Chromatography-Diode Array Detection Technique  with Optional Mass Spectrometric Detection," First Action Method, Journal of AOAC International, Future Issue

United Nations Office on Drugs and Crime - Recommended methods for identification and analysis of cannabis and cannabis products

Testing Location:

FESA Labs

2002 S. Grand Ave., Suite A

Santa Ana, CA 92705

(714) 540-0172

www.fesalabs.com

FESA Labs Page 2 of 2

2002 South Grand Avenue Suite A Santa Ana, CA 92705

(714) 540-0172

www.fesalabs.com

1/24/2024 13:27:24